## SMDS Form
[7 empty] | Select One - CSI Division | 00 00 00 | Select One - CSI Division | 00 00 00
Material and Resource "MR" SMDS: Sustainable Material Data Sheet | [6 empty] | Procurement and Contracting Requirements | 00 00 00 | Procurement and Contracting Requirements | 00 00 00
[7 empty] | General Requirements | 01 00 00 | General Requirements | 01 00 00
Job Name: (include building) | [6 empty] | Existing Conditions | 02 00 00 | Existing Conditions | 02 00 00
Submittal # |  | Page # |  |  |  |  | Concrete | 03 00 00 | Concrete | 03 00 00
Product Name: | [6 empty] | Masonry | 04 00 00 | Masonry | 04 00 00
[7 empty] | Metals | 05 00 00 | Metals | 05 00 00
CSI Division | Select One - CSI Division | 00 00 00 |  |  |  |  | Wood, Plastics, and Composites | 06 00 00 | Wood, Plastics, and Composites | 06 00 00
|  |  |  | www.greencanarysoftware.com |  | ecoREAL 2009 | Thermal and Moisture Protection | 07 00 00 | Thermal and Moisture Protection | 07 00 00
Sub-contractor D/M/W/ESB | Y/N | [5 empty] | Openings | 08 00 00 | Openings | 08 00 00
Sub-contractor: |  |  | Sub Phone: |  | email |  | Finishes | 09 00 00 | Finishes | 09 00 00
[7 empty] | Specialties | 10 00 00 | Specialties | 10 00 00
Manufacturer: |  |  | Mfg. Phone: |  | email |  | Equipment | 11 00 00 | Equipment | 11 00 00
[7 empty] | Furnishings | 12 00 00 | Furnishings | 12 00 00
Description: | [6 empty] | Special Construction | 13 00 00 | Special Construction | 13 00 00
*Directions: sub/vendor fill in all applicable boxes and attach manufacturer letter. *Provide one SMDS form per product. Items in gray are optional (customize options), red highlights important info. | [6 empty] | Conveying Equipment | 14 00 00 | Conveying Equipment | 14 00 00
Contact: |  |  | Instructions: |  |  |  | Fire Suppression | 21 00 00 | Fire Suppression | 21 00 00
Company: |  |  | Only answer applicable Credits. Choose the Credit and use the yellow drop-downs to find your evaluation. For MR Credit 3, enter Cost to contribute.. Add zip codes to Regional Material where noted. |  |  |  | Plumbing | 22 00 00 | Plumbing | 22 00 00
Contact: | [6 empty] | Heating, Ventilating, and Air-Conditioning (HVAC) | 23 00 00 | Heating, Ventilating, and Air-Conditioning | 23 00 00
Email: | [6 empty] | Integrated Automation | 25 00 00 | Integrated Automation | 25 00 00
Technical support: contact@greencanarysoftware.com |  |  | Search products and get manufacturer data: |  | https://bettermaterials.gbci.org/ |  | Electrical | 26 00 00 | Electrical | 26 00 00
Material and Resource (Select Only Applicable Cells) |  |  | MR Credit 3: Responsible Sourcing of Raw Materials* |  |  |  | Communications | 27 00 00 | Exterior Improvements | 32 00 00
[7 empty] | Utilities | 33 00 00 | Utilities | 33 00 00
MR Credit 2: Option 1 - EPD (Environmental Product Declaration) |  |  | -> Cost of Material (Cost is required for this credit) |  |  |  | Transportation | 34 00 00 | Transportation | 34 00 00
| Select One - EPD |  |  |  |  | $ | Waterway and Marine Construction | 35 00 00 | Waterway and Marine Construction | 35 00 00
EPD Program Operator: |  |  | -> Regional Material (200% of cost contributes for local criteria) |  |  |  | Process Integration | 40 00 00 | Process Integration | 40 00 00
|  |  | Manufacturing Location: |  | zip/postal code |  | Material Processing and Handling Equipment | 41 00 00 | Material Processing and Handling Equipment | 41 00 00
MR Credit 2: Option 2 - Embodied Carbon/LCA Optimization* |  |  | Extraction Location: |  | zip/postal code |  | Process Heating, Cooling, and Drying Equipment | 42 00 00 | Process Heating, Cooling, and Drying Equipment | 42 00 00
| Select One-Embodied Carbon/LCA Optimization |  | Percentage both sourced within 100 mi/160.9km |  |  | % | Process Gas and Liquid Handling, Purification, and Storage Equipment | 43 00 00 | Process Gas and Liquid Handling, Purification, and Storage Equipment | 43 00 00
[7 empty] | Pollution Control Equipment | 44 00 00 | Pollution Control Equipment | 44 00 00
MR Credit 4: Option 1 - Material Ingredients (HPD, Declare, Cradle to Cradle…) |  |  | Material Reuse |  |  |  | Industry-Specific Manufacturing Equipment | 45 00 00 | Industry-Specific Manufacturing Equipment | 45 00 00
| Select One - Material Ingredient |  | Reused/salvaged material |  |  | % | Electrical Power Generation | 48 00 00 | Electrical Power Generation | 48 00 00
Does the report have third-party verification of the content inventory |  | Y/N
Recycled Content
MR Credit 4: Option 2 - Material Ingredient Optimization |  |  | Post-consumer Recycled Cont. |  |  | %
| Select One - Material Ingredient Optimization |  | (consumer waste; end-of-life of product)
|  |  | Pre-consumer Recycled Cont. |  |  | %
GBCI "Docverification" ID (if available) |  |  | (Diverted from manufacturing process)
General Note: |  |  | Biobased Material
*For MR Credit 2: Option 2 and MR Credit 3 - Add zip code to Regional Material if products are sourced (extracted, manufactured, and purchased) within 100 miles or 160.9km of the project site, they are valued at twice their value. |  |  | Testing & Sustainable Agriculture Network's Compliant |  |  | %
|  |  | or Meets San's Basic Criteria (Testing Only) |  |  | %
Supporting Documentation: |  |  | FSC Certified Wood
Did you provide the Supporting Documentation? |  | Y/N | Forest Stewardship Council Certified Wood |  | OR
Name of Document |  |  | meets the alternative compliance path (see MRc3 tab) |  |  | %
Page #
See LEEDv4.1 credit requirement tabs for explanations of each credit option. |  |  | Extended Producer Responsibility
Meets Extended Manufacturer Responsibility criteria
Closed Loop or Take Back Program Name
DO NOT PDF save as .xlsx
DO NOT MODIFY THE CELL BELOW!
Version: MRC V 4.1-4

## MRc2 -option 1
MR Credit 2: Environmental Product Declaration
Option 1. Environmental Product Declaration (EPD) (1 point) *Notes in Red preferred products weighted more heavily)
Use at least 20 different permanently installed products sourced from at least five different manufacturers that meet one of the disclosure criteria below. (10 different permanently installed products from three different manufacturers for CS and Warehouses & Distribution Centers).
Life-cycle assessment and environmental product declarations: (options worth 1)
Products with a publicly available, critically reviewed life-cycle assessment conforming to ISO 14044 that have at least a cradle to gate scope are valued as one whole product for the purposes of credit achievement calculation.
Product-specific Type III EPD -- Internally Reviewed. Products with an internally critically reviewed LCA in accordance with ISO 14071. Products with product-specific internal EPDs which conform to ISO 14025, and EN 15804 or ISO 21930 and have at least a cradle to gate scope are valued as one whole product for the purposes of credit achievement calculation.
Industry-wide Type III EPD -- Products with third-party certification (Type III), including external verification, in which the manufacturer is explicitly recognized as a participant by the program operator. Products with industry-wide EPDs, which conform to ISO 14025, and EN 15804 or ISO 21930 and have at least a cradle to gate scope are valued as one whole product for the purposes of credit achievement calculation.
Environmental Product Declarations which conform to ISO 14025 and EN 15804 or ISO 21930 and have at least a cradle to gate scope. (Preferred)
Product-specific Type III EPD -- Products with third-party certification (Type III), including external verification and external critical review are valued as 1.5 products for the purposes of credit achievement calculation.
Select One - EPD
Product Specific Type III (ISO 14044) - External Review | Y/N
Product Specific Type III ( ISO 14071 or ISO 14025, and EN 15804 or ISO 21930) - Internal Review | Y/N
Industry Wide Type III Generic ( ISO 14025, and EN 15804 or ISO 21930) | Y/N
Product Specific: Type III (ISO 14025 and EN 15804 or ISO 21930) - 1.5 products | Y/N
None

## MRc2- Option 2
MR credit 2: Option 2. Embodied Carbon/LCA Optimization (1 point)
Use products that have a compliant embodied carbon optimization report or action plan separate from the LCA or EPD. Use at least 5 permanently installed products sourced from at least three different manufacturers. Products are valued according to the table below. For credit achievement calculation, products sourced (extracted, manufactured, purchased) within 100 miles (160 km) of the project site are valued at twice their base contributing number of products, up to a maximum of 2 products.
Report Type | Reference Document(s) for the Optimization Report | Report Verification | Valuation
Embodied Carbon/LCA Action Plan | Product-specific LCA or product-specific Type III EPD | Prepared by the manufacturer and signed by company executive | ½ product
Reductions in Embodied Carbon: less than 10% reduction in GWP relative to baseline | Baseline: Product-specific LCA, Product-specific Type III EPD, or Industry-wide Type III EPD | Comparative analysis is verified by an independent party | 1 product
Reductions in Embodied Carbon: 10%+ reduction in GWP relative to baseline | Optimized: Product-specific LCA or product-specific Type III EPD |  | 1.5 products
Reductions in Embodied Carbon: 20%+ reduction in GWP and 5%+ reduction in two additional impact categories, relative to baseline | Baseline: Product-specific LCA or Product-specific Type III EPD |  | 2 products
Optimized: Product-specific LCA or product-specific Type III EPD
Additional Notes:
Note: Reference documents for the optimization reports must be compliant with Option 1.
Impact categories:
global warming potential (greenhouse gases), in CO2e;
depletion of the stratospheric ozone layer, in kg CFC-11e;
acidification of land and water sources, in moles H+ or kg SO2e;
eutrophication, in kg nitrogen equivalent or kg phosphate equivalent;
formation of tropospheric ozone, in kg NOx, kg O3 eq, or kg ethene; and
depletion of nonrenewable energy resources, in MJ using CML / depletion of fossil fuels in TRACI.
MR credit 2: Option 2 (see resource tab for full definitions)
Select One-Embodied Carbon/LCA Optimization
LCA impact reduction action plan (0.5 Products) |  |  | Y/N
Third party verified impact reductions in GWP |  |  | Y/N
Third Party verified impact reduction min. 10% reduction in GWP (1.5 Products) |  |  | Y/N
Third Party impact reductions with min. 20% reduction in GWP & 5% in two other categories (2 Products) |  |  | Y/N
None

## MRc3
MR credit 3: Responsible Sourcing of Raw Materials (1-2 points)
1 Point: Use products sourced from at least three different manufacturers that meet at least one of the responsible sourcing and extraction criteria below for at least 15%, by cost, of the total value of permanently installed building products in the project (1 point).
2 Points: Use products sourced from at least five different manufacturers that meet at least one of the responsible sourcing and extraction criteria below for at least 30%, by cost, of the total value of permanently installed building products in the project (2 points).
Responsible Sourcing Options:
Extended producer responsibility. Products purchased from a manufacturer (producer) that participates in an extended producer responsibility program or is directly responsible for extended producer responsibility. Products meeting extended producer responsibility criteria are valued at 50% of their cost for the purposes of credit achievement calculation.
Bio-based materials. Bio-based products and materials other than wood must be tested using ASTM Test Method D6866 or equivalent method ISO 16620-2, or be certified to the USDA BioPreferred Voluntary Labeling Initiative that includes verification via ASTM 6866 testing. Exclude hide products, such as leather and other animal skin material.
Bio-based products that meet the criteria above: value at 50% of cost multiplied by the biobased content of the product for the purposes of credit achievement calculation.
Bio-based products that meet the Sustainable Agriculture Network’s Sustainable Agriculture Standard in addition to the testing requirements above: value at 100% of cost multiplied by the biobased content of the product for the purposes of credit achievement calculation.
Wood products. Wood products must be certified by the Forest Stewardship Council or USGBC-approved equivalent. Products meeting wood products criteria are valued at 100% of their cost for the purposes of credit achievement calculation.
Pilot Alternative Compliance Path – Legal Wood
Instead of only allowing wood that is FSC certified to count, this ACP endorses any forest certification program that meets the requirements of ASTM D7612-10, “Standard Practice for Categorizing Wood and Wood-Based Products According to Their Fiber Sources,” as long as the project’s wood products also meet two other requirements:
1. All wood has to pass a basic screen for risk of illegal harvesting, and provide additional documentation if it isn’t low risk; and
2. At least 70% (by cost) of the wood has to meet the ASTM’s standard for “wood from responsible sources.”
Other certification programs (in addition to FSC) specifically cited in the appendix to the standard are:
Sustainable Forestry Initiative (SFI); American Tree Farm System (ATFS); Programme for the Endorsement of Forest Certification schemes (PEFC); Canadian Standards Association Sustainable Forest Management Standard Z-809 (CSA-SF
Materials reuse. Reuse includes salvaged, refurbished, or reused products. Products meeting materials reuse criteria are valued at 200% of their cost for the purposes of credit achievement calculation.
Recycled content. Products meeting recycled content criteria are valued at 100% of their cost for the purposes of credit achievement calculation.
Recycled content is the sum of postconsumer recycled content plus one-half the preconsumer recycled content, based on weight.
The recycled fraction of the assembly is then multiplied by the cost of assembly to determine the recycled content value.
For credit achievement calculation, products sourced (extracted, manufactured and purchased) within 100 miles (160 km) of the project site are valued at twice their base contributing cost, up to a maximum of 200% of cost.

## MRc4 - Option 1
MR credit 4: Material Ingredients Option 1 (1 point)
Use at least 20 different permanently installed products from at least five different manufacturers that use any of the following programs to demonstrate the chemical inventory of the product to at least 0.1% (1000 ppm). (10 different permanently installed products from at least three different manufacturers for CS and Warehouses & Distribution Centers)
ANSI/BIFMA e3 Furniture Sustainability Standard. The documentation from the assessor or scorecard from BIFMA must demonstrate the product earned at least 3 points under 7.5.1.3 Advanced Level in e3-2014 or 3 points under 7.4.1.3 Advanced Level in e3-2012.
Cradle to Cradle (C2C). Product has Material Health Certificate or is Cradle to Cradle Certified™ under standard version 3 or later with a Material Health achievement level at the Bronze level or higher.
Declare. The Declare product label must meet the following requirements:
Declare labels designated as Red List Free, LBC Red List Free, or Declared.
Declare labels designated as LBC Red List Approved or LBC Compliant that demonstrate content inventory to 0.1% (1000 ppm).
Facts – NSF/ANSI 336: Sustainability Assessment for Commercial Furnishings Fabric at any certification level.
Global Green TAG PHD labels issued after January 1, 2020.
Health Product Declaration. The end use product has a published and complete Health Product Declaration with full disclosure of known hazards in compliance with the Health Product Declaration Open Standard.
Living Product Challenge. The included Declare product label must demonstrate content inventory to 0.1% (1000 ppm).
Manufacturer Inventory. The manufacturer has published complete content inventory for the product following these guidelines:
A publicly available inventory of all ingredients identified by name and Chemical Abstract Service Registration Number (CASRN) and/or European Community Number (EC Number).
Materials defined as trade secret or intellectual property may withhold the name and/or CASRN/EC Number but must disclose ingredient/chemical role, amount and hazard score/class using either:
*Greenscreen List Translator (LT) score and/or Full GreenScreen Benchmark (BM)
*The Globally Harmonized System of Classification and Labeling of Chemicals rev.6 (2015) (GHS)
*The hazard screen must be applied to each trade secret ingredient and the inventory lists the hazard category for each of the health hazards included in Part 3 of GHS (e.g. “GHS Category 2 Carcinogen”).
Product Lens Certification
Any compliant reports above with third-party verification that includes the verification of content inventory are worth 1.5 products for credit achievement calculations.
Material Inventory (see guidelines in MR credit 4 tab)
Select One - Material Ingredient
HPD: Healthy Product Declaration
C2C: Cradle to Cradle MHC
C2C: v3+ with Material Health achievement level at Bronze+
Declare
Global Green Tag
ANSI/BIFMA e3 Furniture Sustainability Standard
Facts
Living Product Challenge
Product Lens
Manufacturer Inventory
None
Does the report have third-party verification of the content inventory *1.5
to at least 0.1% (1000 ppm).
Programs to demonstrate the chemical inventory of the product to at least 0.1% (1000 ppm)
Y/N
Yes
No

## MRc4 - Option 2
MR credit 4 - Option 2: Material Ingredient Optimization (1 point)
Use products that have a compliant material ingredient optimization report or action plan. Use at least 5 permanently installed products sourced from at least three different manufacturers. Products are valued according to the table below.
Report Type & Criteria | Product Documentation | Report Verification | Valuation
Material Ingredient Screening and Optimization Action Plan | Action Plan based on publicly available material inventory to at least 1,000ppm. | Prepared by the manufacturer and signed by company executive | ½ product
Advanced Inventory & Assessment: Inventory to at least 0.01% by weight (100 ppm) and no GreenScreen LT-1 hazards or GHS Category 1 hazards are present. | Cradle to Cradle Certified or Material Health Certificate at Bronze level or higher. | Third-party verified | 1 product
Declare labels designated as Red List Free or LBC Red List Free.
Or | Health Product Declaration that meet optimization and verification criteria.
Living Product Challenge certified products that include a Red List Free or LBC Red List Free Declare label.
Inventory to at least 0.01% by weight (100ppm) and at least 75% by weight of product is assessed using GreenScreen. The remaining 25% by weight of product has been inventoried and the GreenScreen assessment is publicly available. | Manufacturer Inventory that meet optimization and verification criteria.
Material Ingredient Optimization: Inventory to at least 0.01% by weight (100 ppm) and at least 95% by weight of product is assessed using GreenScreen. No BM-1 hazards are present. The remaining 5% not assessed has been inventoried and screened using GreenScreen List Translator and no GreenScreen LT-1 hazards are present. | Cradle to Cradle Certified or Material Health Certificate at Silver level or higher. |  | 1.5 products
Health Product Declaration that meet optimization and verification criteria.
Living Product Challenge certified products that achieve Imperative 09: Transparent Material Health.
Manufacturer Inventory that meet optimization and verification criteria.
International Alternative Compliance Path: Available to projects located outside of the US | REACH Optimization: | REACH report prepared by the manufacturer, | 1 product
| Material Inventory to 100ppm with no substances found on the Authorization List – Annex XIV, the Restriction list – Annex XVII and the SVHC candidate list. | OR
| OR | PHD Report verified by Global Green TAG
Global Green TAG PHD report.
Material and Resource Credit Additional Option
Select One - Material Ingredient Optimization | Select One - Material Ingredient Optimization
Material Ingredient Screening and Optimization Action Plan (.5 Products) | Material Ingredient Screening & Optimization Action Plan (.5 Products) |  | Y/N
Advanced Inventory & Assessment | Advanced Inventory & Assessment |  | Y/N
Material Ingredient Optimization (1.5 Products) | Material Ingredient Optimization (1.5 Products) |  | Y/N
REACH (International Only) | REACH (International Only) |  | Y/N
Global Green Tag PhD (International Only) | Global Green Tag PhD (International Only) |  | Y/N
Inventory to at least 0.01% by weight) | None |  | Y/N
International Alternative Compliant Path (outside US) |  |  | Y/N
None